## Slide 1
SOLAR PANEL
Real-Time Vision-Based Solar Tracking System

## Slide 2
Limitations of Existing Systems
Panels stay at fixed angles
Cannot follow the sun throughout the day
Significant energy loss
Fixed System
01
• Use cantilevered moving arms • Low stiffness under wind loads • Vibrations reduce tracking accuracy
Serial Pan-Tilt Systems
02
• Light sensors are sensitive to noise (Poor accuracy) • Struggle in cloudy or bright conditions
Passive Tracking
03
SOLAR PANEL
Problem：Open-loop systems accumulate errors, causing large tracking misalignment.

## Slide 3
Our Solution
3RRS Parallel Mechanism：
High Dynamic Stiffness
Distributes load across three chains
Eliminates cantilever effects.
Real-Time Vision Control:
Camera-based sun tracking feedback
Nonlinear inverse kinematics solved in real time
Eliminates tracking errors with closed-loop control

## Slide 4
Feasibility Testing